**FIRE EVACUATION AND BELL TEST POLICY**

At Little Wonders Nursery our overall aim is to minimise the risks to pupils and staff in the event of a fire. Safety and preservation of life is our priority and will override all other considerations. We ensure that precautions are taken to avoid and reduce effects of a fire outbreak, procedures are in place for evacuating children safely and that the fire alarm system is in operation.

# Responsibility

|  |  |  |
| --- | --- | --- |
| **Person** | **Responsibility** | **Exit****Route** |
| Manager/Supervisor | * Overall responsibility for fire safety matters;
* Implementation of fire safety matters;
* Make sure that all the children evacuate the premises safely;
* Ensure that staff and pupil training take place and monitor the standard of fire precautions maintained;
* Ensure all new staff are inducted and fire evacuation procedures are explained;
* Ensure that a fire evacuation drill is undertaken each half term; that fire action notices are kept up to date.
 | Main exit, if safe |
|  Lunch | * Ensure that they are fully aware of all fire procedures;
* Ensure the safe evacuation of all pupils for whom they are responsible;
* Ensure that no-one is left in the class room, toilets or corridor and conduct a roll call outside at the Assembly point;
* Ensure that door vision panels and fire exits are kept clear and fire doors are kept shut;
* Ensure that pupils for whom they are responsible are informed of the correct fire procedures.
 | Nearest Exit, if safe |
| Admin | * Call the emergency services if it is a genuine fire;
* Ensure the office and staff room is evacuated;
* Collect the visitor’s book, and all the registers; and go directly to the assembly point;
* Distribute registers at assembly point staff and assist in the checking of the registers and staff registers.
 | Main exit, if safe |
| Caretaker | * To carry out fire bell test and visual check of panel for fault every Tue morn;
* Ensure fire safety equipment is maintained;
* Check fire doors and Fire extinguishers weekly
 |  |

**Procedure**

* Each morning and afternoon the attendance register shall be taken;
* Each morning staff will sign-in when they arrive and any staff leaving the premises shall sign- out;
* Any child leaving the premises shall be marked off the register;
* All visitors shall sign the visitors book on entry and sign-out when leaving.

**Fire Evacuation**

# Fire Drill

* + A fire drill shall be carried out at least once every term;
	+ When the bell rings (which will be a continuous ringing sound), the children shall be quickly lined up in a single file and evacuated through the nearest exit;
	+ Whilst staff are leaving the hall through the fire exit they shall check the toilets as they pass;
	+ Staff shall conduct a roll call by taking a register to see if all children, staff and visitors are present;
	+ If all children, staff and visitors are present, re-enter the building if it is safe to do so.
	+ Manager to record date, time, duration of drill and sign off.

# Actual Fire/Emergency

* + When the fire bell rings quickly line up the children and leave premises from the nearest fire exit;
	+ SMT/Admin (or any member of staff in their absence) shall call the fire brigade if safe to do so or else use the nearest external telephone;
	+ Close all windows, doors and switch off electrical items, if safe to do so;
	+ Under no circumstances, should children or staff collect belongings;
	+ Assemble the children far end of the playground;
	+ Admin will take student register, staff sign in sheet and visitors book outside. A head count will be done, and register will be taken by the class teacher/lunch assistant;
	+ Manager will conduct a roll call to see if all staff and visitors are present;

# Do not attempt to re-enter the building;

* + If someone is missing, the building shall not be re-entered, but information shall be given to the fire brigade for them to make a search.

# Fire bell test

* + Fire bell test shall be carried out once a week on every Tuesday at 9:00 am;
	+ Sound the alarm for approximately 5 seconds;
	+ Each week a different call point shall be activated;
	+ Findings are recorded at the end of the test;
	+ If the bell malfunctions or a fault light appears on the panel, it shall be reported immediately for repairs.